1550NM, C-BAND FLAT HIGH REFLECTION MIRROR & OUTPUT COUPLER

FLAT DEGISN; UV FUSED SILICA

| ITEM | QTY | PART NO./DESCRIPTIONS |  |
| --- | --- | --- | --- |
| J. J1 J2 J3 J4 J5 J6 J7 J8 J9 |  | 1550nm/C-Band High Reflection Mirror & Output Coupler - Plano-plano, UV Fused silica - Surface quality: 20-10 scratch/dig; - Flatness: (/10 over aperture - Parallelism: < 3” DIELECTRIC COATING: - Surface 1 (S1) Coating: R @1550 ( 30nm 0o AOI, - Surface 2 (S2): AR @ 1550 ( 30nm A: Dia: (15.0, -0.2/+0.0mm; Thickness: T =1.00(0.05mm R >99.9% High Reflection, P/N: POC1550-PP-15/1-HR R =86%, P/N: POC1550-PP-15/1-R86 R=22%, P/N: POC1550-PP-15/1-R22 R=14%, P/N: POC1550-PP-15/1-R14 B: Dia: (15.0, -0.2/+0.0mm; Thickness: T =2.00(0.05mm R = 95%, P/N: POC1550-PP-15/2-R95 R = 90%, P/N: POC1550-PP-15/2-R90 R = 85%, P/N: POC1550-PP-15/2-R85 C: Dia: (12.7, -0.2/+0.0mm; Thickness: T =2.00(0.05mm R = 50%, P/N: POC1550-PP-12.7/2-R50 R = 55%, P/N: POC1550-PP-12.7/2-R55 |  |

# Text boxes

AR @ 1550 ( 30nm

(15mm ((1” and (0.5” ((1”Adaptor (c.w retaining ring) available in stock

S1: FLAT

S2: FLAT

## R @1550( 30nm