HIGH-ENERGY LASER FOCUSING LENS @ 1064NM                             LIST S7-08

| ITEM | QTY | PART NO./DESCRIPTION |  |
| --- | --- | --- | --- |
| B. B1 B2 B3 B4 B5 B6 |  | Plano-Convex 1064nm Laser Focusing Lens Plano-Convex design Material: BK 7 glass Surface quality: 20-10 scratch/dig(AR coated) Diameter: as shown below Edge thickness: Te as shown below COATING: SURFACE – 1 and -2 : AR Coating AR/AR @ 1064nm coating (R < 0.1%) DIA: (12.7mm; Te=2mm; EFL = 50mm Ultra-Long Focal Length DIA: (25.4mm; Te=3mm; EFL = 1000mm DIA: (25.4mm; Te=3mm; EFL = 1500mm DIA: (25.4mm; Te=3mm; EFL = 2000mm DIA: (25.4mm; Te=3mm; EFL = 2500mm DIA: (25.4mm; Te=3mm; EFL = 3000mm |  |

# Text boxes

### S2

D

### Surface 1 & 2

AR @1064nm  @ 0o AOI  R <0.1%

### S1