| ITEM | QTY | PART NO./DESCRIPTION |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1-A. |  | (A) Plano-Concave 1064nm Cavity Output Mirrors Plano-Concave design Material: BK 7 glass Diameter: (25.4mm, -0.20,+0.00mm Edge Thickness: T > 2mm Surface quality: 20-10 scratch/dig SURFACE – 1: AR Coating AR @ 1064nm coating (T1 >99.8%); SURFACE – 2: Radius of Curvature: ROC-2 = 8-Type ROC - 25mm; - 50mm; - 100mm; - 200mm; - 300mm; - 500mm; - 800mm, - 1000mm Partial Reflection Coating & Quantity: R21=60% @ 1064nm; QTY: 2pcs R22=70% @ 1064nm; QTY: 2pcs R23=80% @ 1064nm; QTY: 2pcs R24=90% @ 1064nm; QTY: 2pcs R25=92% @ 1064nm; QTY: 2pcs R26=94% @ 1064nm; QTY: 2pcs R27=98% @ 1064nm; QTY: 2pcs TOTAL: 112pcs for this Part (A). |  | - |  |

| ITEM | QTY | PART NO./DESCRIPTION |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1-B. |  | (B) Plano-Convex 1064nm Cavity Output Mirrors Plano-Convex design Material: BK 7 glass Diameter: (25.4mm, -0.20,+0.00mm Edge Thickness: T > 2mm Surface quality: 20-10 scratch/dig SURFACE – 1: AR Coating AR @ 1064nm coating (T1 >99.8%); SURFACE – 2: Radius of Curvature: ROC-2 = 8-Type ROC + 25mm; + 50mm; + 100mm; + 200mm; + 300mm; + 500mm; + 800mm, + 1000mm Partial Reflection Coating & Quantity: R21=60% @ 1064nm; QTY: 2pcs R22=70% @ 1064nm; QTY: 2pcs R23=80% @ 1064nm; QTY: 2pcs R24=90% @ 1064nm; QTY: 2pcs R25=92% @ 1064nm; QTY: 2pcs R26=94% @ 1064nm; QTY: 2pcs R27=98% @ 1064nm; QTY: 2pcs 7-Type of Coating (8) DIA(12.7mm & ROC=+800mm Plano-Convex Mirrors; 7-type coating; QTY: 1pc each – 7pcs TOTAL: 112+7=119pcs for this Part (B). |  |  |  |

| ITEM | QTY | PART NO./DESCRIPTION |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1-C. |  | (C) Plano-Plano 1064nm Cavity Output Mirrors Plano-Plano design Material: BK 7 glass Diameter: (25.4mm, -0.20,+0.00mm Edge Thickness: T =6mm Surface quality: 20-10 scratch/dig SURFACE – 1: AR Coating AR @ 1064nm coating (T1 >99.8%); SURFACE – 2: Flat Partial Reflection Coating & Quantity: R21=60% @ 1064nm; QTY: 2pcs R22=70% @ 1064nm; QTY: 2pcs R23=80% @ 1064nm; QTY: 2pcs R24=90% @ 1064nm; QTY: 2pcs R25=92% @ 1064nm; QTY: 2pcs R26=94% @ 1064nm; QTY: 2pcs R27=98% @ 1064nm; QTY: 2pcs R28 > 99.9% @ 1064nm; QTY: 2pcs 8-Type of Coating DIA(12.7mm & ROC=+800mm Plano-Convex Mirrors; R>99.9%@ 1064nm(Convex)/AR @ 1064nm(flat); |  |  |  |

# Text boxes

### Surface – 2

ROC 2 = 8 types

D

Te

### D=25.4mm

Te > 2mm

### Surface – 1

AR @1064nm

at 0o AOI

T1 > 99.8%

D

### Surface – 1

AR @1064nm

at 0o AOI

T1 > 99.8%

Te

### Surface – 2

ROC 2 = 8 types

### D=25.4mm

Te > 2mm

Sub-Quantity: (Part B)

8  x  (7 x 2pcs) + 7pcs = 119pcs

Te

D

### Surface – 2:  FLAT

### Surface – 1

AR @1064nm

at 0o AOI

T1 > 99.8%

### D=25.4mm

Te = 2mm